## In Line Check Valve
Sr No | Variant Type | Valve Size | End Connection | Set Pressure | Body | Stem | Seat
1 | In Line Check Valve | DN 15 | Screwed (BSP-F) | 6000 PSI | SS304 | SS 304 | Viton
2 | In Line Check Valve | DN 15 | Screwed (BSP-F) | 6000 PSI | SS304 | SS 316 | Viton
3 | In Line Check Valve | DN 15 | Screwed (BSP-F) | 6000 PSI | SS316 | SS 304 | Viton
4 | In Line Check Valve | DN 15 | Screwed (BSP-F) | 6000 PSI | SS316 | SS 316 | Viton
5 | In Line Check Valve | DN 25 | Screwed (BSP-F) | 6000 PSI | SS304 | SS 304 | Viton
6 | In Line Check Valve | DN 25 | Screwed (BSP-F) | 6000 PSI | SS304 | SS 316 | Viton
7 | In Line Check Valve | DN 25 | Screwed (BSP-F) | 6000 PSI | SS316 | SS 304 | Viton
8 | In Line Check Valve | DN 25 | Screwed (BSP-F) | 6000 PSI | SS316 | SS 316 | Viton
9 | In Line Check Valve | DN 32 | Screwed (BSP-F) | 6000 PSI | SS304 | SS 304 | Viton
10 | In Line Check Valve | DN 32 | Screwed (BSP-F) | 6000 PSI | SS304 | SS 316 | Viton
11 | In Line Check Valve | DN 32 | Screwed (BSP-F) | 6000 PSI | SS316 | SS 304 | Viton
12 | In Line Check Valve | DN 32 | Screwed (BSP-F) | 6000 PSI | SS316 | SS 316 | Viton
13 | In Line Check Valve | DN 50 | Screwed (BSP-F) | 6000 PSI | SS304 | SS 304 | Viton
14 | In Line Check Valve | DN 50 | Screwed (BSP-F) | 6000 PSI | SS304 | SS 316 | Viton
15 | In Line Check Valve | DN 50 | Screwed (BSP-F) | 6000 PSI | SS316 | SS 304 | Viton
16 | In Line Check Valve | DN 50 | Screwed (BSP-F) | 6000 PSI | SS316 | SS 316 | Viton

## Wafer Check Valve
Sr No | Variant Type | Valve Size | End Connection | Pressure | Body | Seat
1 | Wafer Check Valve | DN 40 | Wafer | PN25/PN40 | SS 304 | EPDM
2 | Wafer Check Valve | DN 40 | Wafer | PN25/PN40 | SS 304 | Viton
3 | Wafer Check Valve | DN 40 | Wafer | PN25/PN40 | SS 316 | EPDM
4 | Wafer Check Valve | DN 40 | Wafer | PN25/PN40 | SS 316 | Viton
5 | Wafer Check Valve | DN 40 | Wafer | PN25/PN40 | WCB | EPDM
6 | Wafer Check Valve | DN 40 | Wafer | PN25/PN40 | WCB | Viton
7 | Wafer Check Valve | DN 50 | Wafer | PN25/PN40 | SS 304 | EPDM
8 | Wafer Check Valve | DN 50 | Wafer | PN25/PN40 | SS 304 | Viton
9 | Wafer Check Valve | DN 50 | Wafer | PN25/PN40 | SS 316 | EPDM
10 | Wafer Check Valve | DN 50 | Wafer | PN25/PN40 | SS 316 | Viton
11 | Wafer Check Valve | DN 50 | Wafer | PN25/PN40 | WCB | EPDM
12 | Wafer Check Valve | DN 50 | Wafer | PN25/PN40 | WCB | Viton
13 | Wafer Check Valve | DN 65 | Wafer | PN25/PN40 | SS 304 | EPDM
14 | Wafer Check Valve | DN 65 | Wafer | PN25/PN40 | SS 304 | Viton
15 | Wafer Check Valve | DN 65 | Wafer | PN25/PN40 | SS 316 | EPDM
16 | Wafer Check Valve | DN 65 | Wafer | PN25/PN40 | SS 316 | Viton
17 | Wafer Check Valve | DN 65 | Wafer | PN25/PN40 | WCB | EPDM
18 | Wafer Check Valve | DN 65 | Wafer | PN25/PN40 | WCB | Viton
19 | Wafer Check Valve | DN 80 | Wafer | PN25/PN40 | SS 304 | EPDM
20 | Wafer Check Valve | DN 80 | Wafer | PN25/PN40 | SS 304 | Viton
21 | Wafer Check Valve | DN 80 | Wafer | PN25/PN40 | SS 316 | EPDM
22 | Wafer Check Valve | DN 80 | Wafer | PN25/PN40 | SS 316 | Viton
23 | Wafer Check Valve | DN 80 | Wafer | PN25/PN40 | WCB | EPDM
24 | Wafer Check Valve | DN 80 | Wafer | PN25/PN40 | WCB | Viton
25 | Wafer Check Valve | DN 100 | Wafer | PN25/PN40 | SS 304 | EPDM
26 | Wafer Check Valve | DN 100 | Wafer | PN25/PN40 | SS 304 | Viton
27 | Wafer Check Valve | DN 100 | Wafer | PN25/PN40 | SS 316 | EPDM
28 | Wafer Check Valve | DN 100 | Wafer | PN25/PN40 | SS 316 | Viton
29 | Wafer Check Valve | DN 100 | Wafer | PN25/PN40 | WCB | EPDM
30 | Wafer Check Valve | DN 100 | Wafer | PN25/PN40 | WCB | Viton
31 | Wafer Check Valve | DN 150 | Wafer | PN25/PN40 | SS 304 | EPDM
32 | Wafer Check Valve | DN 150 | Wafer | PN25/PN40 | SS 304 | Viton
33 | Wafer Check Valve | DN 150 | Wafer | PN25/PN40 | SS 316 | EPDM
34 | Wafer Check Valve | DN 150 | Wafer | PN25/PN40 | SS 316 | Viton
35 | Wafer Check Valve | DN 150 | Wafer | PN25/PN40 | WCB | EPDM
36 | Wafer Check Valve | DN 150 | Wafer | PN25/PN40 | WCB | Viton
37 | Wafer Check Valve | DN 200 | Wafer | PN25/PN40 | SS 304 | EPDM
38 | Wafer Check Valve | DN 200 | Wafer | PN25/PN40 | SS 304 | Viton
39 | Wafer Check Valve | DN 200 | Wafer | PN25/PN40 | SS 316 | EPDM
40 | Wafer Check Valve | DN 200 | Wafer | PN25/PN40 | SS 316 | Viton
41 | Wafer Check Valve | DN 200 | Wafer | PN25/PN40 | WCB | EPDM
42 | Wafer Check Valve | DN 200 | Wafer | PN25/PN40 | WCB | Viton

## Non Slam Check Valve
Sr No | Variant Type | Valve Size | End Connection | Pressure | Body
1 | Non Slam Check Valve | DN 15 | Sandwich between two flanges | PN25/PN40 | SS 304
2 | Non Slam Check Valve | DN 15 | Sandwich between two flanges | PN25/PN40 | SS 316
3 | Non Slam Check Valve | DN 20 | Sandwich between two flanges | PN25/PN40 | SS 304
4 | Non Slam Check Valve | DN 20 | Sandwich between two flanges | PN25/PN40 | SS 316
5 | Non Slam Check Valve | DN 25 | Sandwich between two flanges | PN25/PN40 | SS 304
6 | Non Slam Check Valve | DN 25 | Sandwich between two flanges | PN25/PN40 | SS 316
7 | Non Slam Check Valve | DN 32 | Sandwich between two flanges | PN25/PN40 | SS 304
8 | Non Slam Check Valve | DN 32 | Sandwich between two flanges | PN25/PN40 | SS 316
9 | Non Slam Check Valve | DN 40 | Sandwich between two flanges | PN25/PN40 | SS 304
10 | Non Slam Check Valve | DN 40 | Sandwich between two flanges | PN25/PN40 | SS 316
11 | Non Slam Check Valve | DN 50 | Sandwich between two flanges | PN25/PN40 | SS 304
12 | Non Slam Check Valve | DN 50 | Sandwich between two flanges | PN25/PN40 | SS 316
13 | Non Slam Check Valve | DN 65 | Sandwich between two flanges | PN25/PN40 | SS 304
14 | Non Slam Check Valve | DN 65 | Sandwich between two flanges | PN25/PN40 | SS 316
15 | Non Slam Check Valve | DN 80 | Sandwich between two flanges | PN25/PN40 | SS 304
16 | Non Slam Check Valve | DN 80 | Sandwich between two flanges | PN25/PN40 | SS 316
17 | Non Slam Check Valve | DN 100 | Sandwich between two flanges | PN25/PN40 | SS 304
18 | Non Slam Check Valve | DN 100 | Sandwich between two flanges | PN25/PN40 | SS 316
19 | Non Slam Check Valve | DN 150 | Sandwich between two flanges | PN25/PN40 | SS 304
20 | Non Slam Check Valve | DN 150 | Sandwich between two flanges | PN25/PN40 | SS 316
21 | Non Slam Check Valve | DN 200 | Sandwich between two flanges | PN25/PN40 | SS 304
22 | Non Slam Check Valve | DN 200 | Sandwich between two flanges | PN25/PN40 | SS 316