## Products
Sr No | Variant Type | Construction | Valve Size | Bore Type | End Connection | Rating | Body | Ball | Stem | Seat | Source File
1 | Ball Valve | 2-Piece With ISO Pads | 15 mm | Full | Flanged As per ANSI #150 | #150 | CF8M | CF8M | SS 316 | PTFE | Ball_Valve_Products.xlsx
2 | Ball Valve | 2-Piece With ISO Pads | 15 mm | Full | Flanged As per ANSI #150 | #150 | CF8M | CF8M | SS 304 | PTFE | Ball_Valve_Products.xlsx
3 | Ball Valve | 2-Piece With ISO Pads | 15 mm | Full | Flanged As per ANSI #150 | #150 | CF8M | CF8 | SS 316 | PTFE | Ball_Valve_Products.xlsx
4 | Ball Valve | 2-Piece With ISO Pads | 15 mm | Full | Flanged As per ANSI #150 | #150 | CF8M | CF8 | SS 304 | PTFE | Ball_Valve_Products.xlsx
5 | Ball Valve | 2-Piece With ISO Pads | 15 mm | Full | Flanged As per ANSI #150 | #150 | CF8 | CF8M | SS 316 | PTFE | Ball_Valve_Products.xlsx
6 | Ball Valve | 2-Piece With ISO Pads | 15 mm | Full | Flanged As per ANSI #150 | #150 | CF8 | CF8M | SS 304 | PTFE | Ball_Valve_Products.xlsx
7 | Ball Valve | 2-Piece With ISO Pads | 15 mm | Full | Flanged As per ANSI #150 | #150 | CF8 | CF8 | SS 316 | PTFE | Ball_Valve_Products.xlsx
8 | Ball Valve | 2-Piece With ISO Pads | 15 mm | Full | Flanged As per ANSI #150 | #150 | CF8 | CF8 | SS 304 | PTFE | Ball_Valve_Products.xlsx
9 | Ball Valve | 2-Piece With ISO Pads | 15 mm | Full | Flanged As per ANSI #150 | #150 | WCB | CF8M | SS 316 | PTFE | Ball_Valve_Products.xlsx
10 | Ball Valve | 2-Piece With ISO Pads | 15 mm | Full | Flanged As per ANSI #150 | #150 | WCB | CF8M | SS 304 | PTFE | Ball_Valve_Products.xlsx
11 | Ball Valve | 2-Piece With ISO Pads | 15 mm | Full | Flanged As per ANSI #150 | #150 | WCB | CF8 | SS 316 | PTFE | Ball_Valve_Products.xlsx
12 | Ball Valve | 2-Piece With ISO Pads | 15 mm | Full | Flanged As per ANSI #150 | #150 | WCB | CF8 | SS 304 | PTFE | Ball_Valve_Products.xlsx
13 | Ball Valve | 2-Piece With ISO Pads | 20 mm | Full | Flanged As per ANSI #150 | #150 | CF8M | CF8M | SS 316 | PTFE | Ball_Valve_Products.xlsx
14 | Ball Valve | 2-Piece With ISO Pads | 20 mm | Full | Flanged As per ANSI #150 | #150 | CF8M | CF8M | SS 304 | PTFE | Ball_Valve_Products.xlsx
15 | Ball Valve | 2-Piece With ISO Pads | 20 mm | Full | Flanged As per ANSI #150 | #150 | CF8M | CF8 | SS 316 | PTFE | Ball_Valve_Products.xlsx
16 | Ball Valve | 2-Piece With ISO Pads | 20 mm | Full | Flanged As per ANSI #150 | #150 | CF8M | CF8 | SS 304 | PTFE | Ball_Valve_Products.xlsx
17 | Ball Valve | 2-Piece With ISO Pads | 20 mm | Full | Flanged As per ANSI #150 | #150 | CF8 | CF8M | SS 316 | PTFE | Ball_Valve_Products.xlsx
18 | Ball Valve | 2-Piece With ISO Pads | 20 mm | Full | Flanged As per ANSI #150 | #150 | CF8 | CF8M | SS 304 | PTFE | Ball_Valve_Products.xlsx
19 | Ball Valve | 2-Piece With ISO Pads | 20 mm | Full | Flanged As per ANSI #150 | #150 | CF8 | CF8 | SS 316 | PTFE | Ball_Valve_Products.xlsx
20 | Ball Valve | 2-Piece With ISO Pads | 20 mm | Full | Flanged As per ANSI #150 | #150 | CF8 | CF8 | SS 304 | PTFE | Ball_Valve_Products.xlsx
21 | Ball Valve | 2-Piece With ISO Pads | 20 mm | Full | Flanged As per ANSI #150 | #150 | WCB | CF8M | SS 316 | PTFE | Ball_Valve_Products.xlsx
22 | Ball Valve | 2-Piece With ISO Pads | 20 mm | Full | Flanged As per ANSI #150 | #150 | WCB | CF8M | SS 304 | PTFE | Ball_Valve_Products.xlsx
23 | Ball Valve | 2-Piece With ISO Pads | 20 mm | Full | Flanged As per ANSI #150 | #150 | WCB | CF8 | SS 316 | PTFE | Ball_Valve_Products.xlsx
24 | Ball Valve | 2-Piece With ISO Pads | 20 mm | Full | Flanged As per ANSI #150 | #150 | WCB | CF8 | SS 304 | PTFE | Ball_Valve_Products.xlsx
25 | Ball Valve | 2-Piece With ISO Pads | 25 mm | Full | Flanged As per ANSI #150 | #150 | CF8M | CF8M | SS 316 | PTFE | Ball_Valve_Products.xlsx
26 | Ball Valve | 2-Piece With ISO Pads | 25 mm | Full | Flanged As per ANSI #150 | #150 | CF8M | CF8M | SS 304 | PTFE | Ball_Valve_Products.xlsx
27 | Ball Valve | 2-Piece With ISO Pads | 25 mm | Full | Flanged As per ANSI #150 | #150 | CF8M | CF8 | SS 316 | PTFE | Ball_Valve_Products.xlsx
28 | Ball Valve | 2-Piece With ISO Pads | 25 mm | Full | Flanged As per ANSI #150 | #150 | CF8M | CF8 | SS 304 | PTFE | Ball_Valve_Products.xlsx
29 | Ball Valve | 2-Piece With ISO Pads | 25 mm | Full | Flanged As per ANSI #150 | #150 | CF8 | CF8M | SS 316 | PTFE | Ball_Valve_Products.xlsx
30 | Ball Valve | 2-Piece With ISO Pads | 25 mm | Full | Flanged As per ANSI #150 | #150 | CF8 | CF8M | SS 304 | PTFE | Ball_Valve_Products.xlsx
31 | Ball Valve | 2-Piece With ISO Pads | 25 mm | Full | Flanged As per ANSI #150 | #150 | CF8 | CF8 | SS 316 | PTFE | Ball_Valve_Products.xlsx
32 | Ball Valve | 2-Piece With ISO Pads | 25 mm | Full | Flanged As per ANSI #150 | #150 | CF8 | CF8 | SS 304 | PTFE | Ball_Valve_Products.xlsx
33 | Ball Valve | 2-Piece With ISO Pads | 25 mm | Full | Flanged As per ANSI #150 | #150 | WCB | CF8M | SS 316 | PTFE | Ball_Valve_Products.xlsx
34 | Ball Valve | 2-Piece With ISO Pads | 25 mm | Full | Flanged As per ANSI #150 | #150 | WCB | CF8M | SS 304 | PTFE | Ball_Valve_Products.xlsx
35 | Ball Valve | 2-Piece With ISO Pads | 25 mm | Full | Flanged As per ANSI #150 | #150 | WCB | CF8 | SS 316 | PTFE | Ball_Valve_Products.xlsx
36 | Ball Valve | 2-Piece With ISO Pads | 25 mm | Full | Flanged As per ANSI #150 | #150 | WCB | CF8 | SS 304 | PTFE | Ball_Valve_Products.xlsx
37 | Ball Valve | 2-Piece With ISO Pads | 40 mm | Full | Flanged As per ANSI #150 | #150 | CF8M | CF8M | SS 316 | PTFE | Ball_Valve_Products.xlsx
38 | Ball Valve | 2-Piece With ISO Pads | 40 mm | Full | Flanged As per ANSI #150 | #150 | CF8M | CF8M | SS 304 | PTFE | Ball_Valve_Products.xlsx
39 | Ball Valve | 2-Piece With ISO Pads | 40 mm | Full | Flanged As per ANSI #150 | #150 | CF8M | CF8 | SS 316 | PTFE | Ball_Valve_Products.xlsx
40 | Ball Valve | 2-Piece With ISO Pads | 40 mm | Full | Flanged As per ANSI #150 | #150 | CF8M | CF8 | SS 304 | PTFE | Ball_Valve_Products.xlsx
41 | Ball Valve | 2-Piece With ISO Pads | 40 mm | Full | Flanged As per ANSI #150 | #150 | CF8 | CF8M | SS 316 | PTFE | Ball_Valve_Products.xlsx
42 | Ball Valve | 2-Piece With ISO Pads | 40 mm | Full | Flanged As per ANSI #150 | #150 | CF8 | CF8M | SS 304 | PTFE | Ball_Valve_Products.xlsx
43 | Ball Valve | 2-Piece With ISO Pads | 40 mm | Full | Flanged As per ANSI #150 | #150 | CF8 | CF8 | SS 316 | PTFE | Ball_Valve_Products.xlsx
44 | Ball Valve | 2-Piece With ISO Pads | 40 mm | Full | Flanged As per ANSI #150 | #150 | CF8 | CF8 | SS 304 | PTFE | Ball_Valve_Products.xlsx
45 | Ball Valve | 2-Piece With ISO Pads | 40 mm | Full | Flanged As per ANSI #150 | #150 | WCB | CF8M | SS 316 | PTFE | Ball_Valve_Products.xlsx
46 | Ball Valve | 2-Piece With ISO Pads | 40 mm | Full | Flanged As per ANSI #150 | #150 | WCB | CF8M | SS 304 | PTFE | Ball_Valve_Products.xlsx
47 | Ball Valve | 2-Piece With ISO Pads | 40 mm | Full | Flanged As per ANSI #150 | #150 | WCB | CF8 | SS 316 | PTFE | Ball_Valve_Products.xlsx
48 | Ball Valve | 2-Piece With ISO Pads | 40 mm | Full | Flanged As per ANSI #150 | #150 | WCB | CF8 | SS 304 | PTFE | Ball_Valve_Products.xlsx
49 | Ball Valve | 2-Piece With ISO Pads | 50 mm | Full | Flanged As per ANSI #150 | #150 | CF8M | CF8M | SS 316 | PTFE | Ball_Valve_Products.xlsx
50 | Ball Valve | 2-Piece With ISO Pads | 50 mm | Full | Flanged As per ANSI #150 | #150 | CF8M | CF8M | SS 304 | PTFE | Ball_Valve_Products.xlsx
51 | Ball Valve | 2-Piece With ISO Pads | 50 mm | Full | Flanged As per ANSI #150 | #150 | CF8M | CF8 | SS 316 | PTFE | Ball_Valve_Products.xlsx
52 | Ball Valve | 2-Piece With ISO Pads | 50 mm | Full | Flanged As per ANSI #150 | #150 | CF8M | CF8 | SS 304 | PTFE | Ball_Valve_Products.xlsx
53 | Ball Valve | 2-Piece With ISO Pads | 50 mm | Full | Flanged As per ANSI #150 | #150 | CF8 | CF8M | SS 316 | PTFE | Ball_Valve_Products.xlsx
54 | Ball Valve | 2-Piece With ISO Pads | 50 mm | Full | Flanged As per ANSI #150 | #150 | CF8 | CF8M | SS 304 | PTFE | Ball_Valve_Products.xlsx
55 | Ball Valve | 2-Piece With ISO Pads | 50 mm | Full | Flanged As per ANSI #150 | #150 | CF8 | CF8 | SS 316 | PTFE | Ball_Valve_Products.xlsx
56 | Ball Valve | 2-Piece With ISO Pads | 50 mm | Full | Flanged As per ANSI #150 | #150 | CF8 | CF8 | SS 304 | PTFE | Ball_Valve_Products.xlsx
57 | Ball Valve | 2-Piece With ISO Pads | 50 mm | Full | Flanged As per ANSI #150 | #150 | WCB | CF8M | SS 316 | PTFE | Ball_Valve_Products.xlsx
58 | Ball Valve | 2-Piece With ISO Pads | 50 mm | Full | Flanged As per ANSI #150 | #150 | WCB | CF8M | SS 304 | PTFE | Ball_Valve_Products.xlsx
59 | Ball Valve | 2-Piece With ISO Pads | 50 mm | Full | Flanged As per ANSI #150 | #150 | WCB | CF8 | SS 316 | PTFE | Ball_Valve_Products.xlsx
60 | Ball Valve | 2-Piece With ISO Pads | 50 mm | Full | Flanged As per ANSI #150 | #150 | WCB | CF8 | SS 304 | PTFE | Ball_Valve_Products.xlsx
61 | Ball Valve | 2-Piece With ISO Pads | 65 mm | Full | Flanged As per ANSI #150 | #150 | CF8M | CF8M | SS 316 | PTFE | Ball_Valve_Products.xlsx
62 | Ball Valve | 2-Piece With ISO Pads | 65 mm | Full | Flanged As per ANSI #150 | #150 | CF8M | CF8M | SS 304 | PTFE | Ball_Valve_Products.xlsx
63 | Ball Valve | 2-Piece With ISO Pads | 65 mm | Full | Flanged As per ANSI #150 | #150 | CF8M | CF8 | SS 316 | PTFE | Ball_Valve_Products.xlsx
64 | Ball Valve | 2-Piece With ISO Pads | 65 mm | Full | Flanged As per ANSI #150 | #150 | CF8M | CF8 | SS 304 | PTFE | Ball_Valve_Products.xlsx
65 | Ball Valve | 2-Piece With ISO Pads | 65 mm | Full | Flanged As per ANSI #150 | #150 | CF8 | CF8M | SS 316 | PTFE | Ball_Valve_Products.xlsx
66 | Ball Valve | 2-Piece With ISO Pads | 65 mm | Full | Flanged As per ANSI #150 | #150 | CF8 | CF8M | SS 304 | PTFE | Ball_Valve_Products.xlsx
67 | Ball Valve | 2-Piece With ISO Pads | 65 mm | Full | Flanged As per ANSI #150 | #150 | CF8 | CF8 | SS 316 | PTFE | Ball_Valve_Products.xlsx
68 | Ball Valve | 2-Piece With ISO Pads | 65 mm | Full | Flanged As per ANSI #150 | #150 | CF8 | CF8 | SS 304 | PTFE | Ball_Valve_Products.xlsx
69 | Ball Valve | 2-Piece With ISO Pads | 65 mm | Full | Flanged As per ANSI #150 | #150 | WCB | CF8M | SS 316 | PTFE | Ball_Valve_Products.xlsx
70 | Ball Valve | 2-Piece With ISO Pads | 65 mm | Full | Flanged As per ANSI #150 | #150 | WCB | CF8M | SS 304 | PTFE | Ball_Valve_Products.xlsx
71 | Ball Valve | 2-Piece With ISO Pads | 65 mm | Full | Flanged As per ANSI #150 | #150 | WCB | CF8 | SS 316 | PTFE | Ball_Valve_Products.xlsx
72 | Ball Valve | 2-Piece With ISO Pads | 65 mm | Full | Flanged As per ANSI #150 | #150 | WCB | CF8 | SS 304 | PTFE | Ball_Valve_Products.xlsx
73 | Ball Valve | 2-Piece With ISO Pads | 80 mm | Full | Flanged As per ANSI #150 | #150 | CF8M | CF8M | SS 316 | PTFE | Ball_Valve_Products.xlsx
74 | Ball Valve | 2-Piece With ISO Pads | 80 mm | Full | Flanged As per ANSI #150 | #150 | CF8M | CF8M | SS 304 | PTFE | Ball_Valve_Products.xlsx
75 | Ball Valve | 2-Piece With ISO Pads | 80 mm | Full | Flanged As per ANSI #150 | #150 | CF8M | CF8 | SS 316 | PTFE | Ball_Valve_Products.xlsx
76 | Ball Valve | 2-Piece With ISO Pads | 80 mm | Full | Flanged As per ANSI #150 | #150 | CF8M | CF8 | SS 304 | PTFE | Ball_Valve_Products.xlsx
77 | Ball Valve | 2-Piece With ISO Pads | 80 mm | Full | Flanged As per ANSI #150 | #150 | CF8 | CF8M | SS 316 | PTFE | Ball_Valve_Products.xlsx
78 | Ball Valve | 2-Piece With ISO Pads | 80 mm | Full | Flanged As per ANSI #150 | #150 | CF8 | CF8M | SS 304 | PTFE | Ball_Valve_Products.xlsx
79 | Ball Valve | 2-Piece With ISO Pads | 80 mm | Full | Flanged As per ANSI #150 | #150 | CF8 | CF8 | SS 316 | PTFE | Ball_Valve_Products.xlsx
80 | Ball Valve | 2-Piece With ISO Pads | 80 mm | Full | Flanged As per ANSI #150 | #150 | CF8 | CF8 | SS 304 | PTFE | Ball_Valve_Products.xlsx
81 | Ball Valve | 2-Piece With ISO Pads | 80 mm | Full | Flanged As per ANSI #150 | #150 | WCB | CF8M | SS 316 | PTFE | Ball_Valve_Products.xlsx
82 | Ball Valve | 2-Piece With ISO Pads | 80 mm | Full | Flanged As per ANSI #150 | #150 | WCB | CF8M | SS 304 | PTFE | Ball_Valve_Products.xlsx
83 | Ball Valve | 2-Piece With ISO Pads | 80 mm | Full | Flanged As per ANSI #150 | #150 | WCB | CF8 | SS 316 | PTFE | Ball_Valve_Products.xlsx
84 | Ball Valve | 2-Piece With ISO Pads | 80 mm | Full | Flanged As per ANSI #150 | #150 | WCB | CF8 | SS 304 | PTFE | Ball_Valve_Products.xlsx
85 | Ball Valve | 2-Piece With ISO Pads | 100 mm | Full | Flanged As per ANSI #150 | #150 | CF8M | CF8M | SS 316 | PTFE | Ball_Valve_Products.xlsx
86 | Ball Valve | 2-Piece With ISO Pads | 100 mm | Full | Flanged As per ANSI #150 | #150 | CF8M | CF8M | SS 304 | PTFE | Ball_Valve_Products.xlsx
87 | Ball Valve | 2-Piece With ISO Pads | 100 mm | Full | Flanged As per ANSI #150 | #150 | CF8M | CF8 | SS 316 | PTFE | Ball_Valve_Products.xlsx
88 | Ball Valve | 2-Piece With ISO Pads | 100 mm | Full | Flanged As per ANSI #150 | #150 | CF8M | CF8 | SS 304 | PTFE | Ball_Valve_Products.xlsx
89 | Ball Valve | 2-Piece With ISO Pads | 100 mm | Full | Flanged As per ANSI #150 | #150 | CF8 | CF8M | SS 316 | PTFE | Ball_Valve_Products.xlsx
90 | Ball Valve | 2-Piece With ISO Pads | 100 mm | Full | Flanged As per ANSI #150 | #150 | CF8 | CF8M | SS 304 | PTFE | Ball_Valve_Products.xlsx
91 | Ball Valve | 2-Piece With ISO Pads | 100 mm | Full | Flanged As per ANSI #150 | #150 | CF8 | CF8 | SS 316 | PTFE | Ball_Valve_Products.xlsx
92 | Ball Valve | 2-Piece With ISO Pads | 100 mm | Full | Flanged As per ANSI #150 | #150 | CF8 | CF8 | SS 304 | PTFE | Ball_Valve_Products.xlsx
93 | Ball Valve | 2-Piece With ISO Pads | 100 mm | Full | Flanged As per ANSI #150 | #150 | WCB | CF8M | SS 316 | PTFE | Ball_Valve_Products.xlsx
94 | Ball Valve | 2-Piece With ISO Pads | 100 mm | Full | Flanged As per ANSI #150 | #150 | WCB | CF8M | SS 304 | PTFE | Ball_Valve_Products.xlsx
95 | Ball Valve | 2-Piece With ISO Pads | 100 mm | Full | Flanged As per ANSI #150 | #150 | WCB | CF8 | SS 316 | PTFE | Ball_Valve_Products.xlsx
96 | Ball Valve | 2-Piece With ISO Pads | 100 mm | Full | Flanged As per ANSI #150 | #150 | WCB | CF8 | SS 304 | PTFE | Ball_Valve_Products.xlsx
97 | Ball Valve | 2-Piece With ISO Pads | 125 mm | Full | Flanged As per ANSI #150 | #150 | CF8M | CF8M | SS 316 | PTFE | Ball_Valve_Products.xlsx
98 | Ball Valve | 2-Piece With ISO Pads | 125 mm | Full | Flanged As per ANSI #150 | #150 | CF8M | CF8M | SS 304 | PTFE | Ball_Valve_Products.xlsx
99 | Ball Valve | 2-Piece With ISO Pads | 125 mm | Full | Flanged As per ANSI #150 | #150 | CF8M | CF8 | SS 316 | PTFE | Ball_Valve_Products.xlsx
100 | Ball Valve | 2-Piece With ISO Pads | 125 mm | Full | Flanged As per ANSI #150 | #150 | CF8M | CF8 | SS 304 | PTFE | Ball_Valve_Products.xlsx
101 | Ball Valve | 2-Piece With ISO Pads | 125 mm | Full | Flanged As per ANSI #150 | #150 | CF8 | CF8M | SS 316 | PTFE | Ball_Valve_Products.xlsx
102 | Ball Valve | 2-Piece With ISO Pads | 125 mm | Full | Flanged As per ANSI #150 | #150 | CF8 | CF8M | SS 304 | PTFE | Ball_Valve_Products.xlsx
103 | Ball Valve | 2-Piece With ISO Pads | 125 mm | Full | Flanged As per ANSI #150 | #150 | CF8 | CF8 | SS 316 | PTFE | Ball_Valve_Products.xlsx
104 | Ball Valve | 2-Piece With ISO Pads | 125 mm | Full | Flanged As per ANSI #150 | #150 | CF8 | CF8 | SS 304 | PTFE | Ball_Valve_Products.xlsx
105 | Ball Valve | 2-Piece With ISO Pads | 125 mm | Full | Flanged As per ANSI #150 | #150 | WCB | CF8M | SS 316 | PTFE | Ball_Valve_Products.xlsx
106 | Ball Valve | 2-Piece With ISO Pads | 125 mm | Full | Flanged As per ANSI #150 | #150 | WCB | CF8M | SS 304 | PTFE | Ball_Valve_Products.xlsx
107 | Ball Valve | 2-Piece With ISO Pads | 125 mm | Full | Flanged As per ANSI #150 | #150 | WCB | CF8 | SS 316 | PTFE | Ball_Valve_Products.xlsx
108 | Ball Valve | 2-Piece With ISO Pads | 125 mm | Full | Flanged As per ANSI #150 | #150 | WCB | CF8 | SS 304 | PTFE | Ball_Valve_Products.xlsx
109 | Ball Valve | 2-Piece With ISO Pads | 150 mm | Full | Flanged As per ANSI #150 | #150 | CF8M | CF8M | SS 316 | PTFE | Ball_Valve_Products.xlsx
110 | Ball Valve | 2-Piece With ISO Pads | 150 mm | Full | Flanged As per ANSI #150 | #150 | CF8M | CF8M | SS 304 | PTFE | Ball_Valve_Products.xlsx
111 | Ball Valve | 2-Piece With ISO Pads | 150 mm | Full | Flanged As per ANSI #150 | #150 | CF8M | CF8 | SS 316 | PTFE | Ball_Valve_Products.xlsx
112 | Ball Valve | 2-Piece With ISO Pads | 150 mm | Full | Flanged As per ANSI #150 | #150 | CF8M | CF8 | SS 304 | PTFE | Ball_Valve_Products.xlsx
113 | Ball Valve | 2-Piece With ISO Pads | 150 mm | Full | Flanged As per ANSI #150 | #150 | CF8 | CF8M | SS 316 | PTFE | Ball_Valve_Products.xlsx
114 | Ball Valve | 2-Piece With ISO Pads | 150 mm | Full | Flanged As per ANSI #150 | #150 | CF8 | CF8M | SS 304 | PTFE | Ball_Valve_Products.xlsx
115 | Ball Valve | 2-Piece With ISO Pads | 150 mm | Full | Flanged As per ANSI #150 | #150 | CF8 | CF8 | SS 316 | PTFE | Ball_Valve_Products.xlsx
116 | Ball Valve | 2-Piece With ISO Pads | 150 mm | Full | Flanged As per ANSI #150 | #150 | CF8 | CF8 | SS 304 | PTFE | Ball_Valve_Products.xlsx
117 | Ball Valve | 2-Piece With ISO Pads | 150 mm | Full | Flanged As per ANSI #150 | #150 | WCB | CF8M | SS 316 | PTFE | Ball_Valve_Products.xlsx
118 | Ball Valve | 2-Piece With ISO Pads | 150 mm | Full | Flanged As per ANSI #150 | #150 | WCB | CF8M | SS 304 | PTFE | Ball_Valve_Products.xlsx
119 | Ball Valve | 2-Piece With ISO Pads | 150 mm | Full | Flanged As per ANSI #150 | #150 | WCB | CF8 | SS 316 | PTFE | Ball_Valve_Products.xlsx
120 | Ball Valve | 2-Piece With ISO Pads | 150 mm | Full | Flanged As per ANSI #150 | #150 | WCB | CF8 | SS 304 | PTFE | Ball_Valve_Products.xlsx