## Products
Sr No | Variant Type | Construction | Valve Size | End Connection | Tc Od | Body | Bonnet | Diaphragm | Actuator Moc | Source File
1 | 'J' Type Pneumatically Operated Zero Dead Leg Diaphragm Valve | 3/2 way | DN 20 | TC End | 50.4 | CF3M | CF8 | EPDM Food Grade - Pressure -6 Bar Max. / Temperature - 115°C Max. | GFN (Plastic) | Mascon_Valve_Products (1) - F (1).xlsx
2 | 'J' Type Pneumatically Operated Zero Dead Leg Diaphragm Valve | 3/2 way | DN 20 | TC End | 50.4 | CF3M | CF8 | EPDM+PTFEP (Padded) - Pressure -10 Bar Max. / Temperature - 140°C Max. | GFN (Plastic) | Mascon_Valve_Products (1) - F (1).xlsx
3 | 'J' Type Pneumatically Operated Zero Dead Leg Diaphragm Valve | 3/2 way | DN 25 | TC End | 50.4 | CF3M | CF8 | EPDM Food Grade - Pressure -6 Bar Max. / Temperature - 115°C Max. | GFN (Plastic) | Mascon_Valve_Products (1) - F (1).xlsx
4 | 'J' Type Pneumatically Operated Zero Dead Leg Diaphragm Valve | 3/2 way | DN 25 | TC End | 50.4 | CF3M | CF8 | EPDM+PTFEP (Padded) - Pressure -10 Bar Max. / Temperature - 140°C Max. | GFN (Plastic) | Mascon_Valve_Products (1) - F (1).xlsx
5 | 'J' Type Pneumatically Operated Zero Dead Leg Diaphragm Valve | 3/2 way | DN 40 | TC End | 50.4 | CF3M | CF8 | EPDM Food Grade - Pressure -6 Bar Max. / Temperature - 115°C Max. | GFN (Plastic) | Mascon_Valve_Products (1) - F (1).xlsx
6 | 'J' Type Pneumatically Operated Zero Dead Leg Diaphragm Valve | 3/2 way | DN 40 | TC End | 50.4 | CF3M | CF8 | EPDM+PTFEP (Padded) - Pressure -10 Bar Max. / Temperature - 140°C Max. | GFN (Plastic) | Mascon_Valve_Products (1) - F (1).xlsx
7 | 'J' Type Pneumatically Operated Zero Dead Leg Diaphragm Valve | 3/2 way | DN 50 | TC End | 64 | CF3M | CF8 | EPDM Food Grade - Pressure -6 Bar Max. / Temperature - 115°C Max. | GFN (Plastic) | Mascon_Valve_Products (1) - F (1).xlsx
8 | 'J' Type Pneumatically Operated Zero Dead Leg Diaphragm Valve | 3/2 way | DN 50 | TC End | 64 | CF3M | CF8 | EPDM+PTFEP (Padded) - Pressure -10 Bar Max. / Temperature - 140°C Max. | GFN (Plastic) | Mascon_Valve_Products (1) - F (1).xlsx
9 | 'J' Type Pneumatically Operated Zero Dead Leg Diaphragm Valve | 3/2 way | DN 63 | TC End | 77.5 | CF3M | CF8 | EPDM Food Grade - Pressure -6 Bar Max. / Temperature - 115°C Max. | GFN (Plastic) | Mascon_Valve_Products (1) - F (1).xlsx
10 | 'J' Type Pneumatically Operated Zero Dead Leg Diaphragm Valve | 3/2 way | DN 63 | TC End | 77.5 | CF3M | CF8 | EPDM+PTFEP (Padded) - Pressure -10 Bar Max. / Temperature - 140°C Max. | GFN (Plastic) | Mascon_Valve_Products (1) - F (1).xlsx
11 | 'J' Type Pneumatically Operated Zero Dead Leg Diaphragm Valve | 3/2 way | DN 80 | TC End | 91 | CF3M | CF8 | EPDM Food Grade - Pressure -6 Bar Max. / Temperature - 115°C Max. | GFN (Plastic) | Mascon_Valve_Products (1) - F (1).xlsx
12 | 'J' Type Pneumatically Operated Zero Dead Leg Diaphragm Valve | 3/2 way | DN 80 | TC End | 91 | CF3M | CF8 | EPDM+PTFEP (Padded) - Pressure -10 Bar Max. / Temperature - 140°C Max. | GFN (Plastic) | Mascon_Valve_Products (1) - F (1).xlsx